## Settings
Sample Info | Please Enter the Sample Info
Comments | Please Enter the Comments
Additional Comments | No Comments Provided
Measurement Parameters
Start Voltage | -1
Stop Voltage | -0.1
Voltage Range | Auto
Current Limit | 0.1
Dual Sweep | On
Current Range | Auto
Minimum Range | 10 nA
Auto Zero | Off
Input Terminals | Rear
Output Off | Normal
Sense | 2-Wire
Common Settings
Sweep Points | 46
Current Range | Auto
Repeat | 0
Source to Measure Delay | 0.1
Constants
NPLC | 0.1
Frequency | 50
Measurement Window | 0.002
Step | 0.02
Calculated Points | 91
Time
Date | 4.4.2025
Clock | 11:16:7

## Measurements
Voltage | Current
-0.99999 | -2.4627e-10
-0.97997 | -2.4871e-10
-0.95997 | -2.5104e-10
-0.93998 | -1.7142e-10
-0.91999 | -4.362e-10
-0.89998 | -2.3438e-10
-0.88002 | -2.4335e-10
-0.85999 | -1.8977e-10
-0.84003 | -4.0987e-10
-0.82 | -3.7999e-10
-0.8 | -4.3177e-10
-0.78001 | -4.0451e-10
-0.75998 | -3.6514e-10
-0.74 | -1.8896e-10
-0.71997 | -3.8389e-10
-0.69999 | -2.108e-10
-0.68003 | -1.8779e-10
-0.66002 | -2.9647e-10
-0.64002 | -2.3398e-10
-0.62 | -1.7853e-10
-0.59999 | -3.1773e-10
-0.58001 | -4.2076e-10
-0.55999 | -3.8937e-10
-0.54001 | -4.0474e-10
-0.51997 | -1.7224e-10
-0.49999 | -3.9723e-10
-0.48 | -3.5821e-10
-0.46004 | -2.3182e-10
-0.44001 | -1.5978e-10
-0.41999 | -3.7201e-10
-0.40003 | -3.9636e-10
-0.37998 | -1.5989e-10
-0.36 | -1.8622e-10
-0.33998 | -3.5996e-10
-0.31999 | -1.8167e-10
-0.29999 | -1.7183e-10
-0.27998 | -2.0445e-10
-0.26001 | -2.2996e-10
-0.24001 | -1.6106e-10
-0.21999 | -4.1645e-10
-0.19999 | -4.0789e-10
-0.18 | -4.1115e-10
-0.15999 | -2.9059e-10
-0.13997 | -1.6205e-10
-0.11999 | -2.405e-10
-0.099978 | -1.9332e-10
-0.11998 | -1.8098e-10
-0.13998 | -2.0177e-10
-0.15996 | -2.0829e-10
-0.17998 | -1.7032e-10
-0.19999 | -2.1476e-10
-0.22001 | -2.7312e-10
-0.24001 | -1.9018e-10
-0.26001 | -3.0049e-10
-0.27999 | -2.3864e-10
-0.29999 | -1.8965e-10
-0.31997 | -3.1732e-10
-0.33997 | -1.6904e-10
-0.36 | -2.8453e-10
-0.37997 | -1.6123e-10
-0.4 | -2.3695e-10
-0.42 | -3.3957e-10
-0.44 | -3.0993e-10
-0.46003 | -3.4446e-10
-0.47997 | -4.281e-10
-0.49998 | -3.3078e-10
-0.52001 | -4.2449e-10
-0.53996 | -1.8092e-10
-0.55998 | -4.2461e-10
-0.58001 | -2.0025e-10
-0.6 | -4.2303e-10
-0.62001 | -1.7335e-10
-0.63999 | -1.6787e-10
-0.66 | -3.6328e-10
-0.68002 | -3.9746e-10
-0.69998 | -3.984e-10
-0.71999 | -2.0975e-10
-0.74002 | -4.3025e-10
-0.75997 | -1.8039e-10
-0.78002 | -3.6531e-10
-0.80001 | -1.882e-10