## Settings
Time
Date | 21.4.2025
Clock | 2:50:38
Sample Info | Please Enter the Sample Info
Comments | Please Enter the Comments
Additional Comments
Measurement Parameters
Level Voltage, V | -1
Current Limit, A | 0.1
Sweep Points | 21
Source to Measure Delay, S | 0.1
NPLC | 0.1
Measure Window, S | 0.002
Measurecount | 1
Frequency, Hz | 50
Input Terminals | Rear
Output Off | Normal
Sense | 2-Wire
Voltage Range | Auto
Current Range | Auto
Minimum Range | 10 nA
Auto Zero | Off

## Measurements
Time | Current | Voltage
2.6604 | -0.0044818 | -0.99999
2.8945 | -0.0044532 | -0.99999
3.1316 | -0.0044586 | -0.99999
3.3424 | -0.0043524 | -0.99999
3.5642 | -0.0044172 | -1