## Settings
Sample Info | Please Enter the Sample Info
Comments | Please Enter the Comments
Additional Comments | No Comments Provided
Measurement Parameters
Start Voltage | -0.5
Stop Voltage | 0.5
Voltage Range | Auto
Current Limit | 0.1
Dual Sweep | Off
Current Range | Auto
Minimum Range | 10 nA
Auto Zero | Off
Input Terminals | Rear
Output Off | Normal
Sense | 2-Wire
Common Settings
Sweep Points | 51
Current Range | Auto
Repeat | 1
Source to Measure Delay | 0.1
Constants
NPLC | 1
Frequency | 50
Measurement Window | 0.02
Step | 0.02
Calculated Points | 51
Time
Date | 19.3.2025
Clock | 19:56:52

## Measurements
Voltage | Current
-0.49999 | -2.8012e-10
-0.48999 | -2.8e-10
-0.48 | -2.7977e-10
-0.47 | -2.7961e-10
-0.46 | -2.7972e-10
-0.45 | -2.7948e-10
-0.44 | -2.7936e-10
-0.43 | -2.7908e-10
-0.42 | -2.7886e-10
-0.41 | -2.7863e-10
-0.4 | -2.7829e-10
-0.38999 | -2.7798e-10
-0.37999 | -2.7776e-10
-0.37 | -2.775e-10
-0.36 | -2.7732e-10
-0.35 | -2.7708e-10
-0.33999 | -2.7683e-10
-0.32999 | -2.7653e-10
-0.31999 | -2.7615e-10
-0.30999 | -2.7579e-10
-0.29999 | -2.7538e-10
-0.28999 | -2.7483e-10
-0.27999 | -2.7424e-10
-0.26999 | -2.7356e-10
-0.25999 | -2.727e-10
-0.24999 | -2.7154e-10
-0.23999 | -2.6989e-10
-0.22999 | -2.6746e-10
-0.21999 | -2.6363e-10
-0.20999 | -2.5747e-10
-0.19999 | -2.4739e-10
-0.18999 | -2.3078e-10
-0.17999 | -2.0363e-10
-0.16999 | -1.5921e-10
-0.15999 | -8.6856e-11
-0.14999 | 3.0792e-11
-0.13999 | 2.2238e-10
-0.12999 | 5.3572e-10
-0.11999 | 1.0525e-09
-0.10999 | 1.9163e-09
-0.099994 | 3.3851e-09
-0.089994 | 5.9343e-09
-0.079994 | 1.0451e-08
-0.069994 | 1.8619e-08
-0.059994 | 3.3664e-08
-0.049994 | 6.1864e-08
-0.039994 | 1.1522e-07
-0.029994 | 2.1671e-07
-0.019994 | 4.0959e-07
-0.0099935 | 7.7394e-07
6.1899e-06 | 1.4506e-06